**ENERGID CONTROL AND**

**SOLUTIONS PRIVATE LIMITED**

COMMERCIAL SPACE NO. 116 TRICITY PLAZA

PEERMUCHALLA

Zirakpur Punjab 140603

India

GSTIN 03AADCE7024N2ZN

Estimate

#

**: EST-0354**

Place Of Supply

**: Himachal Pradesh (02)**

Estimate Date

Expiry Date

Reference#

**: 09/07/2020**

**: 09/07/2020**

**: Flame Proof Detector**

**Bill To**

**Ship To**

**MANKIND PHARMA LTD.**

Unit-3, Rampur Ghat Road, Opp. Dental College

Disst. Sirmour, Poanta Sahib

Poanta Sahib

Unit-3, Rampur Ghat Road, Opp. Dental College

Disst. Sirmour, Poanta Sahib

Poanta Sahib

173025 HP

173025 HP

GSTIN 02AAACM9401C1Z7

**IGST**

**#**

**Item & Description**

**HSN/SAC**

**Qty**

**Rate**

**%**

**Amt**

**Amount**

1

Supply & Installation of Digital Flame

Proof UV Flame Detector that detects

fire by picking up the ultraviolet light

from flaming material.

8531

2.00

49,900.00

18%

17,964.00

99,800.00

Features:

1. Intelligent signal-processing and

communication with integrated

microprocessor

2. Intelligent algorithm ensure quick

response with reduced false alarm

3. Duct-proof, damp-proof and

corrosion-proof

4. Three Sensitivity Level

Operating voltage-24V, IP66, Related

Humidity- 95%RH.

2

3

24 V Power Supply

8504

8531

1.00

1.00

500.00

18%

18%

90.00

500.00

Supply & installation of Control

Module

2,900.00

522.00

2,900.00

4

5

Supply & Installation of Zone Module

8531

8544

1.00

1.00

3,800.00

130.00

18%

18%

684.00

23.40

3,800.00

130.00

Suuply , Laying & testing of 2C X 1.5

Sqmm FRLS armoured Cable

6

Programming Charges

9954

1.00

7,500.00

18%

1,350.00

7,500.00

Sub Total

1,14,630.00

20,633.40

-0.40

Total In Words

IGST18 (18%)

Rounding

**Total**

**Rupees One Lakh Thirty-Five Thousand Two Hundred Sixty-Three**

**Only**

**₹1,35,263.00**

Looking forward for your business.

Terms & Conditions

1. Payment Terms: 100% advance along with purchase order.

2. Cabling charges will be extra as actual.( If required).

3. Delivery Time: 15 to 30 days after receiving PO & advance.

4. Product Warranty: One year from delivery at site.

5. Transportation will extra as actual.

Authorized Signature

1

